## Slide 1: Pump Efficiency Monitoring
while-1-fork

## Slide 2: Initial Objectives
Use the meters to measure energy consumption and flow of water.
Push the data onto a server.
Measure the efficiency in terms of energy consumption and flow.
Understand the different protocols used.

## Slide 3: How we read sensor values
Read energy meter values using modBus protocol.
Read flow meter values with pulse-count increment on interrupt.
Read temperature and humidity sensor data using I2C protocol.

## Slide 4: How we pushed the data onto the server
OneM2M protocol was used for creation of application entities and nodes, with data containers for all different types of values pushed.
With correct AEs with descriptions, types and units, the data can be easily read and parsed by any developer who wishes to develop a frontend service for the same.

## Slide 5: Deployment & Front-end development
PHYSICAL DEPLOYMENT:
The energy meter’s, flow meter’s, and temperature sensor’s connections made to the ESP32 board using a PCB attached firmly inside a casing containing a power bank as backup power source and a charging brick going into the bank.
FRONT-END DEVELOPMENT:
A python-flask app (supposed to be run on a server) with an SQLite database which essentially provides a monitor to view various statistics on data obtained on requesting the OneM2M server.

## Slide 6: Front-end: A Detailed View
We used flask framework to build a web-app.
SQLite database is used to store the data locally on the server.
We used flask because it provides simplicity, flexibility and fine-grained control.
We used SQLite database because it emphasizes scalability, concurrency, centralization.
Plotly.js library is used to plot the datapoints. We plotted Graphs which include the graphs like Temperature VS Time, Humidity VS Time, Flow VS Time, Efficiency vs Time etc.
From the color of the status button, we can know the state of the system. Black means system is off. Green means attribute is working properly. Yellow means attribute is in a state near breakdown. Red means attribute is in a breakdown state.

## Slide 7: Issues faced
Calibration of flow meter [on-going]
Correctly parsing the registers read using modBus for energy meter.
Inconsistent output from energy meter [on-going]
Temperature sensor got damaged due to voltage given above it’s limit.
OneM2M server not accessible from inside the IIIT network or outside the network for different wi-fi connections (some ports being blocked or using local IPs).

## Slide 8: Special Thanks
Prabhakar Sir
SamBabu G
Vishal Garg